## Slide 1: XM125 Test
Taehun Kim
bigteach0508@pusan.ac.kr
Embedded Systems Lab.
School of AI, PNU
2025. 03. 12

## Slide 2: Contents
Schematic
Installation
GUI results
CLI installation
CLI results
Conclusion

## Slide 3: Schematic
Sparkfun XM125
Figure 1. Sparkfun XM125
A121
MCU
CH340
Serial-to-USB

## Slide 4: Schematic (cont’d)
XM125 block diagram
Figure 2. XM125 block diagram

## Slide 5: Schematic (cont’d)
A121
  1 Tx antenna and 1 Rx antenna
  Serial Peripheral Interface(SPI) communication with MCU
Figure 3. A121 block diagram

## Slide 6: Installation
Install CH340 driver
  https://www.arduined.eu/ch340-windows-10-driver-download/
Download Acconeer Exploration Tool
  https://developer.acconeer.com/download/portable_exploration_tool/
Double click the update.bat file and the run_app.bat
Figure 4. Acconeer Exploration Tool

## Slide 7: Installation (cont’d)
Flashing firmware
  Click the flash menu
  Click Get latest binary – Get latest bin file
  Register at https://developer.acconeer.com/register/
  Download the firmware
  Click the flash button to flashing firmware
Figure 5. Download the firmware

## Slide 8: Installation (cont’d)
Baud rate setting
  Click the setting(cogwheel) button
  Setting the baudrate to 115200
Figure 6. Setting the baudrate

## Slide 9: GUI results
Sparse IQ
Figure 7. Sparse IQ

## Slide 10: GUI results (cont’d)
Distance detector
Figure 8. Distance detector

## Slide 11: GUI results (cont’d)
Presence detector
Figure 9. Presence detector

## Slide 12: GUI results (cont’d)
Speed detector
Figure 10. Speed detector

## Slide 13: CLI installation
Get example source code
  https://github.com/acconeer/acconeer-python-exploration/tree/master/examples
Double click the cmd_with_path.bat in portable_exploration_tool
Set client information
  Serial port and baudrate
Run the source code
  python examples/a121/basic.py
Figure 11. Serial Configuration

## Slide 14: CLI results
Basic.py
  print real parts and imaginary parts of the receive signals
Figure 12. Real and imaginary part of signals

## Slide 15: CLI results
basic_plot.py
Figure 13. I/Q scatterplot

## Slide 16: CLI results (cont’d)
basic_plot.py
Figure 14. real and imaginary value by sweep and distance point

## Slide 17: CLI results (cont’d)
Basic_plot.py
Figure 15. real and imaginary heatmap by sweep and distance point

## Slide 18: CLI results (cont’d)
Basic_plot.py
Figure 16. real, imaginary, amplitude, phase heatmap by sweep and distance point

## Slide 19: CLI results (cont’d)
basic_plot.py
Figure 17. Amplitude and phase value by frame and distance point

## Slide 20: CLI results (cont’d)
Plot_analog.py
Figure 18. plot I/Q data, magnitude heatmap, phase heatmap, and I Q line plot

## Slide 21: CLI results (cont’d)
Plot_analog.py
Figure 19. plot magnitude, phase, i_values, q_values after flattening signal

## Slide 22: CLI results (cont’d)
plot_analog2.py
Figure 20. Distance point of sweep 1

## Slide 23: CLI results (cont’d)
plot_analog2.py
Figure 21. Sweep of distance 1

## Slide 24: Conclusion
XM125 sensor cannot measure the Angle of Arrival(AoA) because it has only one Rx antenna
Analog data may not be directly extracted from the sensor
However, digital signal may be extracted from the sensor
Using the complex number, amplitude and phase can be calculated
Heatmap can be created from the digital signal

## Slide 25: References
Manual
  XM125 datasheet
  XM125 schematic
Online
  https://github.com/acconeer/acconeer-python-exploration
  https://matplotlib.org/stable/users/index.html
  https://matplotlib.org/stable/gallery/mplot3d/index.html